## Pejsmejkeri
PEJSMEJKERI, ELEKTRODE I IMPLANTABILNI DEFRIBILATORI I PRATEĆI POTROŠNI MATERIJAL
Partija | ŠIFRA | PREDMET NABAVKE | MODEL / KOMERCIJALNI NAZIV | PROIZVOĐAČ | KATALOŠKI BROJ | Jedinica mere | Jedinična PROCENJENA cena | Jedinična UGOVORENA cena (bez PDV-a) | KOLIČINA | PROCENJENA VREDNOST | UGOVORENA VREDNOST (bez PDV-a) | IZABRANI DOBAVLJAČ | BROJ PONUDA PO PARTIJI
1 | PM150001 | Jednokomorski pejsmejker sa frekvetnom adaptacijom (VVIR) | Sensia IPG/Pejsmejker | MEDTRONIC | SESR01 | komad | 44500 | 44500 |  | 0 | 0 | BIMED | 3
1 | PM150030 | Elektroda bipolarna, konekcije IS-1 pasivne ili aktivne fiksacije prava ili "J"-krivina | CapSureFix Novus MRI SureScan Lead/Elektroda za pejsmejker, sa steroidom | MEDTRONIC | 4092,MRI 5076 | komad | 15150 | 15150 |  | 0 | 0 | BIMED | 3
2 | PM150002 | Dvokomorski pejsmejker sa frekventnom adaptacijom (DDDR) | Endurity/Pejsmejker | ST.JUDE MEDICAL | PM21xx | komad | 56900 | 59690 |  | 0 | 0 | GOSPER | 3
2 | PM150031 | Elektrodа bipolarnа, konekcije IS-1 pasivne ili aktivne fiksacije, prava ili "J"-krivina | Isoflex,Tendril/Elektroda za pejsmejker | ST.JUDE MEDICAL | 194x, xx8xTC | komad | 15150 | 15150 |  | 0 | 0 | GOSPER | 3
3 | PM150003 | »Single pass« pejsmejker sa frekventnom adaptacijom (VDDR) | Effecta IPG family/Pejsmejker | BIOTRONIK SE&Co.KG | 371 199 | komad | 59690 | 63728 |  | 0 | 0 | HERMES SYSTEM | 3
3 | PM150045 | Elektroda »single pass« | Solox SLX/Elektroda za pejsmejker | BIOTRONIK SE&Co.KG | 124 54x, 333 90x | komad | 40310 | 34400.73 |  | 0 | 0 | HERMES SYSTEM | 3
4 | PM150004 | Resinhronizacioni pejsmejker (CRT-p) | Allure/Pejsmejker | ST.JUDE MEDICAL | PM3xxx | komad | 115128 | 125000 |  | 0 | 0 | GOSPER | 2
4 | PM150031 | Elektrodа bipolarnа, konekcije IS-1 pasivne ili aktivne fiksacije, prava ili "J"-krivina | Isoflex,Tendil/Elektroda za pejsmejker | ST.JUDE MEDICAL | 194x, xx8xTC | komad | 15149 | 15150 |  | 0 | 0 | GOSPER | 2
4 | PM150032 | Elektrodа za koronarni sinus unipolarna ili bipolarna (različitih oblika vrha) | Quickflex,Quartet/Elektroda za pejsmejker | ST.JUDE MEDICAL | 1x5xT, 1458Q | komad | 33570 | 33600 |  | 0 | 0 | GOSPER | 2
4 | PM150005 | Resinhronizacioni pejsmejker (CRT-p) | Etrinsa/Pejsmejker | BIOTRONIK SE&Co.KG | 394976 | komad | 115128 | 125000 |  | 0 | 0 | HERMES SYSTEM | 2
5 | PM150006 | Resinhronizacioni pejsmejker sa defibrilacionom funkcijom (CRT-D) | Quadra Assura MP,Promote+/Defibrilator, kardioverter, implantibilni | ST.JUDE MEDICAL | CD3211-36, CD33xx-40C, CD33xx-40QC | komad | 510525 | 500250 |  | 0 | 0 | GOSPER | 3
5 | PM150031 | Elektroda bipolarna, konekcije IS-1 pasivne ili aktivne fiksacije, prava ili "J"-krivina | Isoflex,Tendril/Elektroda za pejsmejker | ST.JUDE MEDICAL | 194x, xx8xTC | komad | 15150 | 15150 |  | 0 | 0 | GOSPER | 3
5 | PM150032 | Elektroda za koronarni sinus unipolarna ili bipolarna (različitih oblika vrha) | Quickflex, Quartet/Elektroda za pejsmejker | ST.JUDE MEDICAL | 1x5xT, 1458Q | komad | 33570 | 33600 |  | 0 | 0 | GOSPER | 3
5 | PM150033 | HV elektroda aktivne ili pasivne fiksacije ''single coil'' ili ''dual coil'' | Durata/Elektroda za defibrilator, sa steroidom | ST.JUDE MEDICAL | 71xx, 71xxQ | komad | 80000 | 90000 |  | 0 | 0 | GOSPER | 3
6 | PM150007 | Jednokomorski implantabilni kardioverter defibrilator (ICD-VR) | Protecta VR/Defibrilator | MEDTRONIC | D364VRG | komad | 403900 | 403900 |  | 0 | 0 | BIMED | 2
6 | PM150034 | HV elektroda aktivne ili pasivne fiksacije ''single coil'' ili ''dual coil'' | Sprint Quattro Secure Lead S/Elektroda za defibrilator, implantabilna | MEDTRONIC | 69xx | komad | 95800 | 95800 |  | 0 | 0 | BIMED | 2
7 | PM150008 | Jednokomorski implantabilni kardioverter defibrilator (ICD-VR) za osobe astenične konstitucije | INOGEN/Defibrilator | Cardiac Pacemakers Incorporated, a wholly owned subsidiary of Guidant Corporation, a wholly owned subsidiary of Boston Scientific Corporation | D011 | komad | 60000 | 568630 |  | 0 | 0 | VICOR | 2
7 | PM150035 | 1 HV elektroda aktivne ili pasivne fiksacije ''single-coil'' ili ''dual-coil'' | ENDOTAK RELIANCE Implatantable cardioversion/defibrilator pace/sense leads/Elektroda za defibrilator | Cardiac Pacemakers Incorporated, a wholly owned subsidiary of Guidant Corporation, a wholly owned subsidiary of Boston Scientific Corporation | 01xx | komad | 69630 | 101000 |  | 0 | 0 | VICOR | 2
8 | PM150009 | Dvokomorski implantabilni kardioverter defibrilator (ICD-DR) | ORIGEN/Defibrilator | Cardiac Pacemakers Incorporated, a wholly owned subsidiary of Guidant Corporation, a wholly owned subsidiary of Boston Scientific Corporation | D003 | komad | 453840 | 453840 |  | 0 | 0 | VICOR | 3
8 | PM150035 | HV elektroda aktivne ili pasivne fiksacije ''single coil'' ili ''dual coil'' | ENDOTAK RELIANCE Implatantable cardioversion/defibrilator pace/sense leads/Elektroda za defibrilator | Cardiac Pacemakers Incorporated, a wholly owned subsidiary of Guidant Corporation, a wholly owned subsidiary of Boston Scientific Corporation | 01xx | komad | 101000 | 101000 |  | 0 | 0 | VICOR | 3
8 | PM150036 | Elektroda bipolarna, konekcije IS-1 pasivne ili aktivne fiksacije, prava ili "J"-krivina | Fineline II Sterox Bipolar Implantable Cardiac Pacing Lead/Elektroda za pejsmejker | Cardiac Pacemakers Incorporated, a wholly owned subsidiary of Guidant Corporation, a wholly owned subsidiary of Boston Scientific Corporation | 44xx | komad | 15150 | 15150 |  | 0 | 0 | VICOR | 3
8 | PM150010 | Dvokomorski implantabilni kardioverter defibrilator (ICD-DR) | Iforia Implatantable Cardioverter/Defibrilator | BIOTRONIK SE&Co.KG | 3xx xxx | komad | 453840 | 453840 |  | 0 | 0 | HERMES SYSTEM | 3
8 | PM150037 | HV elektroda aktivne ili pasivne fiksacije ''single coil'' ili ''dual coil'' | Linox smart ProMRI/Elektroda za defibrilator, sa steroidom | BIOTRONIK SE&Co.KG | 3xx xxx | komad | 101000 | 101000 |  | 0 | 0 | HERMES SYSTEM | 3
8 | PM150038 | Elektroda bipolarna, konekcije IS-1 pasivne ili aktivne fiksacije, prava ili "J"-krivina | Selox ST/Selox JT/Safio S MRI/Elektrode za pejsmejker, bipolarna, pasivna | BIOTRONIK SE&Co.KG | 3xx xxx | komad | 15150 | 15150 |  | 0 | 0 | HERMES SYSTEM | 3
9 | PM150011 | Dijagnostički implantabilni »loop rekorder« | SJM Confirm Implantable Cardiac Monitor/Monitor srčane funkcije, implantabilni | ST.JUDE MEDICAL | DM210x | komad | 188500 | 186500 |  | 0 | 0 | GOSPER | 2
10 | PM150039 | Elektroda za koronarni sinus bipolarna | Attain Ability Lead/Elektroda za pejsmejker | MEDTRONIC | 4x96 | komad | 46200 | 48974 |  | 0 | 0 | BIMED | 3
11 | PM150040 | Elektroda aktivne fiksacije za vene koronarnog sinusa većeg lumena | Attain StarFix Lead/Elektroda za pejsmejker | MEDTRONIC | 4195 | komad | 65000 | 65000 |  | 0 | 0 | BIMED | 1
12 | PM150041 | Epikardijalna elektroda (unipolarna ili bipolarna) | CapSure Epicardial Leads/Elektroda za pejsmejker | MEDTRONIC | 496x | komad | 48950 | 48950 |  | 0 | 0 | BIMED | 1
13 | BKT15026 | Uvodnik (set) za standardne pejsmejker elektrode i/ili HV elektrode (veličina 6,7,8,9 i 10 Fr) | Classic Sheath Splittable Hemostatic Introducer System/Kateter uvodnik | MERIT MEDICAL SYSTEMS, SAD | CLS-xxxx | komad | 3785 | 3530 |  | 0 | 0 | APTUS | 4
14 | BKT15027 | Uvodnik za koronarni sinus sa »preformiranim vrhom« uz žicu-vodič za ovaj uvodnik | ACUITY Pro Guide Catheter,Starter Guidewire/Kateter vodič,vaskularni,žica vodič | Boston Scientific Corporation | 81xx,M001491181 | komad | 21240 | 21240 |  | 0 | 0 | VICOR | 4
15 | BKT15028 | Kateter EPS za koronarni sinus sa deflektabilnim vrhom | Dynamic Tip steerable electrode Catheter/Kateter,elektrofiziološki,dijagnostički | Bard Electrophysiology A Division of C.R. Bard Inc. | 6DYNTP001 | komad | 75000 | 75000 |  | 0 | 0 | VICOR | 2
16 | BKT15029 | Subselektorni kateter za koronarni sinus | Worley Advanced Lateral Vein Introducer/Kateter,uvodnik | MERIT MEDICAL SYSTEMS, SAD | WORLVI-75-5-62-07-XX | komad | 33294 | 32299 |  | 0 | 0 | APTUS | 4
17 | BKT15030 | Balon kateter za venogram koronarnog sinusa | Balloon Catheter/Balon kateter,koronarni | Cardiac Pacemakers Incorporated, a wholly owned subsidiary of Guidant Corporation, a wholly owned subsidiary of Boston Scientific Corporation | 6747 | komad | 6900 | 6900 |  | 0 | 0 | VICOR | 1
18 | BKT15031 | Žica, vodič, »over the wire« za elektrodu za koronarni sinus | Choice PT Guidewire/Žica vodič | Boston Scientific Corporation | H749 121xxxx 2, H749 121xxxx J2 | komad | 5600 | 5187 |  | 0 | 0 | VICOR | 2
19 | PM150012 | Adapter za konekciju sa 5 mm na IS-1 | Adapter for implantable pacing leads/Adapter za pejsing elektrodu | Medtronic - Osypka | VM17 | komad | 50000 | 50000 |  | 0 | 0 | BIMED | 1
21 | PM150013 | Jednokomorski pejsmejker sa frekvetnom adaptacijom (VVIR) sa zaštitom od magnetne rezonance | Etrinsa/Pejsmejker | BIOTRONIK SE&Co.KG | 394 983 | komad | 251385 | 251385 |  | 0 | 0 | HERMES SYSTEM | 3
21 | PM150042 | Elektroda bipolarna, konekcije IS-1 pasivne ili aktivne fiksacije, prava ili "J"-krivina ) sa zaštitom od magnetne rezonance | Implantable Bipolar Endocardial lead, Solia/Elektroda za pejsmejker,bipolarna | BIOTRONIK SE&Co.KG | 377 17x,377 18x | komad | 15150 | 15150 |  | 0 | 0 | HERMES SYSTEM | 3
22 | PM150014 | Dvokomorski pejsmejker sa frekventnom adaptacijom (DDDR) sa zaštitom od magnetne rezonance | Etrinsa/Pejsmejker | BIOTRONIK SE&Co.KG | 394 981 | komad | 269450 | 269450 |  | 0 | 0 | HERMES SYSTEM | 4
22 | PM150042 | Elektrode bipolarne, konekcije IS-1 pasivne ili aktivne fiksacije, prava ili "J"-krivina sa zaštitom od magnetne rezonance | Implantable Bipolar Endocardial lead, Solia/Elektroda za pejsmejker,bipolarna | BIOTRONIK SE&Co.KG | 377 17x,377 18x | komad | 15150 | 15150 |  | 0 | 0 | HERMES SYSTEM | 4
23 | PM150015 | Dvokomorski pejsmejker sa frekventnom adaptacijom (DDDR) sa posebnim terapijom za vazovagalne sinkope | Assurity/Pejsmejker | ST.JUDE MEDICAL | 2272 | komad | 269450 | 265000 |  | 0 | 0 | GOSPER | 2
23 | PM150031 | Elektrode bipolarne, konekcije IS-1 pasivne ili aktivne fiksacije, prava ili "J"-krivina | Isoflex,Tendril/Elektroda za pejsmejker | ST.JUDE MEDICAL | 194x ,xx8xTC | komad | 15155 | 15150 |  | 0 | 0 | GOSPER | 2
24 | PM150016 | Jednokomorski pejsmejker sa frekventnom adaptacijom (SSIR) za decu telesne mase ispod 10kg | Microny II SR+/Pejsmejker | ST.JUDE MEDICAL | 2525T | komad | 179000 | 179000 |  | 0 | 0 | GOSPER | 1
25 | PM150017 | Dvokomorski pejsmejker sa frekventnom adaptacijom (DDDR) za decu telesne mase ispod 30 kg | Adapta IPG/Pejsmejker | MEDTRONIC | ADDRS1 | komad | 218939 | 218939 |  | 0 | 0 | BIMED | 1
26 | PM150043 | Elektroda konekcije IS-1 pasivne fiksacije, unipolarna, promera od 1.2 mm (za decu) | CapSure Sense Lead/Elektroda za pejsmejker | MEDTRONIC | 4073 | komad | 20700 | 20700 |  | 0 | 0 | BIMED | 1
27 | PM150044 | Elektroda konekcije IS-1 aktivne fiksacije, bipolarna sa poliuretanskim omotačem (za decu) | CapSureFix Novus Lead/Elektroda za pejsmejker | MEDTRONIC | 4076 | komad | 16300 | 16300 |  | 0 | 0 | BIMED | 1
[10 empty] | PROCENJENA VREDNOST | UGOVORENA VREDNOST (bez PDV-a) | UGOVORENA VREDNOST (sa PDV-om)
| Broj nabavke | 404-1-110/15-39 |  | Plan | (sami birate poziciju u aplikaciji) |  |  |  |  | 0 | 0 | 0
U hiljadama dinara (za UJN)
| Tip nabavke | Oblikovana po partijama, centralizovana |  | Datum zaključenja | (sami popunjavate u aplikaciji) |  |  |  |  | 0 | 0 | 0
| Vrsta postupka | Otvoreni |  | Interni br ugovora | (sami popunjavate u aplikaciji)
| Vrsta predmeta | Dobra |  | Matični br. dobavljača | (sami popunjavate u aplikaciji) |  |  |  |  | Broj ponuda | 2.4667
| Delatnost | Klasičan sektor |  | Naziv dobavljača | (sami popunjavate u aplikaciji) |  |  |  |  | Kriterijum | Najniža ponuđena cena
| Opis predmeta | Pejsmejkeri, elektrode i implantabilni defribilatori i prateći potrošni materijal |  | Sedište dobavljača | (sami popunjavate u aplikaciji)
| Šifra iz ORN | 33600000 |  | Država dobavljača | (sami popunjavate u aplikaciji)
NAPOMENA: Ovi podaci se direktno unose u aplikaciju za kvartalno izveštavanje Uprave za javne nabavke. Tabele služe kao alat kako biste došli do podataka koje do sada niste imali. Nemate nikakvu obavezu popunjavanja i slanja prema RFZO